## Alden(ZA)
Floor | Room | Extn | Jack | CABLE BOX | FACE-PLATE | WIRE-MOLD | CABLE TV | DATA JACK | PHONE JACK | RED PHONE | NOTES | TECH NEEDED | TECH-REDPHONE | RM BX | RM FP | NFP | NFI | NDJ | NVJ | RI | DLG | DLNG | DTG | DTNG
1 | LOUNGE |  | 01053A
1 | LOUNGE | 16133 | 02058A
1 | LOUNGE | 25870 | 136-2P
1 | WALKWAY | 16009
1 | 101 | 16041 | 01001A
1 | 101 |  | 01002A
1 | 102 | 16117 | 01003 | [6 empty] | Broken |  |  | YES
1 | 102 | 16117 | 01004A
1 | 103 | 16134 | 01005A
1 | 103 |  | 01006A | [5 empty] | No Cxn |  |  | YES | YES | [7 empty] | 1
1 | 104 |  | 01007A | Loose |  |  |  |  | No Cxn |  |  | YES | YES | 1 | [6 empty] | 1
1 | 104 | 16176 | 01008A | [5 empty] | In |  |  | YES | YES | [7 empty] | 1
1 | 106 |  | 01009A | [5 empty] | No Cxn |  |  | YES | YES | [7 empty] | 1
1 | 106 | 16042 | 01010A
1 | 107 | 16069 | 01011A
1 | 107 |  | 01012A
1 | 108 |  | 01013A
1 | 108 | 16135 | 01014A
1 | 109 | 16140 | 01015A
1 | 109 |  | 01016A | Loose | [7 empty] | YES | YES | 1
1 | 111 | 16177 | 01017A
1 | 111 |  | 01018A
1 | 115 | 16043 | 01019A
1 | 115 |  | 01020A
1 | 117 | 16093 | 01021A
1 | 117 |  | 01022A
1 | 118 |  | 1023
1 | 118 | 16157 | 01024A | [7 empty] | Phone has wrong ext. (16154)
1 | 119 | 16178 | 01025A
1 | 119 |  | 01026A
1 | 120 |  | 01027A
1 | 120 | 16070 | 01028A | Loose | [7 empty] | YES | YES | 1
1 | 121 | 16094 | 01029A
1 | 121 |  | 01030A
1 | 122 |  | 01031A
1 | 122 | 16141 | 01032A
1 | 123 | 16158 | 01033A
1 | 123 |  | 01034A
1 | 124 |  | 01035A
1 | 124 | 16044 | 01036A
1 | 125 |  | 01037A
1 | 125 | 16095 | 01038A
1 | 126 | 16118 | 01039A
1 | 126 |  | 01040A
1 | 127 |  | 01041A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
1 | 127 | 16179 | 01042A
1 | 128 |  | 01042A
1 | 128 |  | 01043A
1 | 128 | 16045 | 01044A
1 | 129 |  | 01045A
1 | 129 | 16096 | 01046A
1 | 130 | 16119 | 01047A
1 | 130 |  | 01048A
1 | 131 |  | 01049A
1 | 131 | 16159 | 01050A | [7 empty] | Wrong Extension.
1 | 132 | 16180 | 01051A
1 | 132 |  | 01052A
1 | 133 | 28050 | 1035A | [7 empty] | UPD- Could not access room.
1 | 135 | 25934 | 00101A
1 | 137 |  | UNLBLED
1 | 143 |  | 01054A
1 | 143 | 16071 | 01055A
1 | 145 |  | 01056A
1 | 145 | 16120 | 01057A | [6 empty] | Broken |  |  | YES
1 | 146 | 16142 | 01058A | [6 empty] | Broken |  |  | YES
1 | 146 |  | 01059A | Out | [7 empty] | YES | YES | [11 empty] | Asbestos not done
1 | 147 |  | 01060A |  |  |  | In |  |  |  |  | YES | YES | [11 empty] | Asbestos not done
1 | 147 | 16205 | 01061A
1 | 148 | 16046 | 01062A | Loose | [7 empty] | YES | YES | [11 empty] | Asbestos not done
1 | 148 |  | 01063A
1 | 149 |  | 01064A
1 | 149 | 16121 | 01065A
1 | 150 | 16136 | 01066A
1 | 150 |  | 01067A
1 | 151 |  | 01068A
1 | 151 | 16111 | 01069A
1 | 152 | 16115 | 0152-1A
1 | 152 |  | 0152-1B
1 | 152 |  | 0152-3A
1 | 152 |  | 0152-3B
1 | 153 | 16206 | 01070A
1 | 153 |  | 01071A
1 | 155 | 16072 | 01072A
1 | 155 |  | 01073A
1 | 157 | 16122 | 01074A
1 | 157 |  | 01075A
1 | 158 |  | 01076A
1 | 158 | 16182 | 01077A
1 | 159 | 16207 | 01078A
1 | 159 |  | 01079A
1 | 160 |  | 01080A
1 | 160 | 16097 | 01081A
1 | 161 | 16123 | 01082A | Loose | [7 empty] | YES | YES | [11 empty] | Asbestos not done
1 | 161 |  | 01083A
1 | 162 |  | 01084A
1 | 162 | 16160 | 01085A
1 | 163 |  | 01086A
1 | 163 | 16183 | 01087A
1 | 164 |  | 01088A
1 | 164 | 16073 | 01089A
2 | 201 | 16098 | 02001A
2 | 201 |  | 02002A
2 | 202 |  | 02003A
2 | 202 | 16161 | 02004A
2 | 203 | 16184 | 02005A | [6 empty] | Missing |  |  | YES
2 | 203 |  | 02006A
2 | 204 |  | 02007A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
2 | 204 | 16074 | 02008A | Loose | [7 empty] | YES | YES | 1 | [5 empty] | 1
2 | 206 |  | 02009A
2 | 206 | 16124 | 02010A
2 | 207 | 16137 | 02011A
2 | 207 |  | 02012A
2 | 208 |  | 02013A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
2 | 208 | 16185 | 02014A
2 | 209 | 16208 | 02015A |  |  |  | In |  |  |  |  | YES | YES |  |  | 1
2 | 209 |  | 02016A
2 | 211 | 16075 | 02017A | [5 empty] | In |  |  | YES | YES | [6 empty] | 1
2 | 211 |  | 02018A
2 | 213 | 16125 | 02019A
2 | 213 |  | 02020A
2 | 215 | 16162 | 02021A
2 | 215 |  | 02022A
2 | 217 | 16209 | 02023A | [6 empty] | Broken |  |  | YES
2 | 217 |  | 02024A
2 | 218 |  | 02025A
2 | 218 | 16099 | 02026A
2 | 219 | 16126 | 02027A
2 | 219 |  | 02028A
2 | 220 |  | 02029A
2 | 220 | 16163 | 02030A
2 | 221 | 16186 | 02031A
2 | 221 |  | 02032A
2 | 222 |  | 02033A
2 | 222 | 16076 | 02034A
2 | 223 | 16100 | 02035A
2 | 223 |  | 02036A
2 | 224 |  | 02037A
2 | 224 | 16164 | 02038A
2 | 225 | 16187 | 02039A
2 | 225 |  | 02040A
2 | 226 |  | 02041A
2 | 226 | 16077 | 02042A
2 | 227 | 16101 | 02043A
2 | 227 |  | 02044A
2 | 228 |  | 02045A
2 | 228 | 16157 | 02046A
2 | 229 | 16165 | 02047A
2 | 229 |  | 02048A
2 | 230 |  | 02049A
2 | 230 | 16047 | 02050A
2 | 231 | 16078 | 02051A
2 | 231 |  | 02052A
2 | 232 |  | 02053A
2 | 232 | 16143 | 02054A
2 | 233 | 16166 | 02055A
2 | 233 |  | 02056A
2 | 239 | 16048 | 02059A
2 | 239 |  | 02060A
2 | 241 | 16102 | 02061A
2 | 241 |  | 02062A
2 | 243 | 16138 | 02063A
2 | 243 |  | 02064A
2 | 245 | 16167 | 02065A
2 | 245 |  | 02066A
2 | 246 |  | 02067A
2 | 246 | 16049 | 02068A
2 | 247 | 16079 | 02069A
2 | 247 |  | 02070A
2 | 248 |  | 02071A
2 | 248 | 16145 | 02072A
2 | 249 | 16158 | 02073A
2 | 249 |  | 02074A
2 | 250 |  | 02075A
2 | 250 | 16050 | 02076A
2 | 251 | 16080 | 02077A
2 | 251 |  | 02078A
2 | 253 | 16127 | 02079A
2 | 253 |  | 02080A
2 | 255 | 16145 | 02081A
2 | 255 |  | 02082A
2 | 257 | 16188 | 02083A
2 | 257 |  | 02084A
2 | 258 |  | 02085A
2 | 258 | 16081 | 02086A
2 | 259 | 16103 | 02087A
2 | 259 |  | 02088A
2 | 260 |  | 02089A
2 | 260 | 16169 | 02090A
2 | 261 | 16189 | 02091A
2 | 261 |  | 02092A
2 | 262 |  | 02093A
2 | 262 | 16082 | 02094A
2 | 263 | 16104 | 02095A
2 | 263 |  | 02096A
2 | 264 |  | 02097A
2 | 264 | 16159 | 02098A
3 | 301-0 | 16170 | 03001A | [5 empty] | No Cxn |  |  | YES | YES | [7 empty] | 1
3 | 301-0 |  | 03002A
3 | 302-0 |  | 03003A
3 | 302-0 | 16051 | 03004A | [6 empty] | Broken |  |  | YES
3 | 303-0 | 16083 | 03005A
3 | 303-0 |  | 03006A
3 | 304-0 |  | 03007A
3 | 304-0 | 16148 | 03008A | Loose | [7 empty] | YES | YES | 1
3 | 306-0 |  | 03009A
3 | 306-0 | 16190 | 03010A | [6 empty] | Broken |  |  | YES
3 | 307-0 | 16211 | 03011A
3 | 307-0 |  | 03012A | Loose |  | Missing | [5 empty] | YES | YES | 1
3 | 308-0 |  | 03013A
3 | 308-0 | 16105 | 03014A
3 | 309-0 | 16128 | 03015A |  |  | Missing | [5 empty] | YES | YES
3 | 309-0 |  | 03016A
3 | 311-0 | 16149 | 03017A
3 | 311-0 |  | 03018A
3 | 313-0 | 16191 | 03019A
3 | 313-0 |  | 03020A
3 | 315-0 | 16052 | 03021A
3 | 315-0 |  | 03022A
3 | 317-0 | 16106 | 03023A |  |  |  |  | Stuck |  |  |  | YES | YES | [6 empty] | 1
3 | 317-0 |  | 03024A
3 | 318-0 |  | 03025A
3 | 318-0 | 16171 | 03026A | [6 empty] | Missing |  |  | YES
3 | 319-0 | 16192 | 03027A
3 | 319-0 |  | 03028A
3 | 320-0 |  | 03029A
3 | 320-0 | 16084 | 03030A
3 | 321-0 | 16107 | 03031A
3 | 321-0 |  | 03032A
3 | 322-0 |  | 03033A
3 | 322-0 | 16150 | 03034A
3 | 323-0 | 16172 | 03035A
3 | 323-0 |  | 03036A
3 | 324-0 |  | 03037A | Loose |  | Missing | [5 empty] | YES | YES | 1
3 | 324-0 | 16053 | 03038A
3 | 325-0 | 16085 | 03039A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
3 | 325-0 |  | 03040A
3 | 326-0 |  | 03041A
3 | 326-0 | 16151 | 03042A
3 | 327-0 | 16173 | 03043A
3 | 327-0 |  | 03044A |  |  |  | Out |  |  |  |  | YES | YES |  |  |  | 1
3 | 328-0 |  | 03045A
3 | 328-0 | 16116 | 03046A | [6 empty] | Missing |  |  | YES
3 | 329-0 |  | 03047A
3 | 329-0 | 16086 | 03048A | [5 empty] | Stuck |  |  | YES | YES | [6 empty] | 1
3 | 330-0 |  | 03049A
3 | 330-0 | 16129 | 03050A
3 | 331-0 |  | 03051A
3 | 331-0 | 16152 | 03052A
3 | 332-0 | 16174 | 03053A
3 | 332-0 |  | 03054A
3 | 333-0 |  | 03055A
3 | 333-0 | 16031 | 03056A
3 | 334-0 | 16054 | 03057A
3 | 334-0 |  | 03058A
3 | 335-0 |  | 03059A
3 | 335-0 | 16130 | 03060A
3 | 336-0 |  | 03061A
3 | 337-0 | 16153 | 03062A
3 | 337-0 |  | 03063A | Loose | [7 empty] | YES | YES | 1 |  | 1
3 | 339-0 | 16193 | 03064A
3 | 339-0 |  | 03065A
3 | 340-0 |  | 03066A
3 | 340-0 | 16055 | 03067A
3 | 341-0 | 16087 | 03068A
3 | 341-0 |  | 03069A
3 | 343-0 | 16131 | 03070A
3 | 343-0 |  | 03071A
3 | 345-0 | 16154 | 03072A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
3 | 345-0 |  | 03073A
3 | 346-0 | 16194 | 03074A
3 | 346-0 |  | 03075A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
3 | 347-0 |  | 03076A
3 | 347-0 | 16056 | 03077A | [6 empty] | Broken |  |  | YES
3 | 348-0 |  | 03078A
3 | 348-0 | 16108 | 03079A | Loose | [7 empty] | YES | YES | 1 | [5 empty] | 1
3 | 349-0 | 16132 | 03080A | [6 empty] | Missing |  |  | YES
3 | 349-0 |  | 03081A
3 | 350-0 |  | 03082A
3 | 350-0 | 16195 | 03083A
3 | 351-0 | 16212 | 03084A
3 | 351-0 |  | 03085A
3 | 353-0 | 16057 | 03086A
3 | 353-0 |  | 03087A
3 | 355-0 | 16109 | 03088A
3 | 355-0 |  | 03089A
3 | 357-0 | 16139 | 03090A
3 | 357-0 |  | 03091A
3 | 358-0 |  | 03092A
3 | 358-0 | 16196 | 03093A
3 | 359-0 | 16213 | 03094A | [6 empty] | Broken |  |  | YES
3 | 359-0 |  | 03095A
3 | 360-0 |  | 03096A
3 | 360-0 | 16088 | 03097A | Loose |  | Loose | [5 empty] | YES | YES | [11 empty] | Asbestos not done
3 | 361-0 | 16110 | 03098A | Loose | [7 empty] | YES | YES | [11 empty] | Asbestos not done
3 | 361-0 |  | 03099A
3 | 362-0 |  | 03100A
3 | 362-0 | 16175 | 03101A | [6 empty] | Missing |  |  | YES
3 | 363-0 | 16197 | 03102A |  |  |  | In |  |  | Missing | phone missing handle | YES | YES | [11 empty] | Asbestos not done
3 | 363-0 |  | 03103A
3 | 364-0 |  | 03104A | Loose |  | Missing | [5 empty] | YES | YES | [11 empty] | Asbestos not done
3 | 364-0 | 16058 | 03105A | Loose | [7 empty] | YES | YES | [11 empty] | Asbestos not done
301 |  |  |  | 9 | 0 | 5 | 10 | 1 | 7 | 14 | 4 | 34 | 47 | 9 | 0 | 2 | 1 | 0 | 0 | 11 | 5 | 0 | 0 | 0
|  |  | No Cxn |  |  |  | 0 | 0 | 4
|  |  | Stuck |  |  |  | 0 | 1 | 1
|  |  | In | 0 |  |  | 9 | 0 | 2
|  |  | Out | 1 |  |  | 1 | 0 | 0
|  |  | Replaced | [6 empty] | 0
|  |  | Loose | 15 | 0 | 1
|  |  | Missing |  | 0 | 4 |  |  |  | 6
|  |  | Broken |  | 0 |  |  |  |  | 8
RD
2 | 234 | 25934 | 02057A
relabled
relabled
relabled
relabled
relabled
relabled
relabled
relabled
relabled
relabled
relabled
relabled
relabled
B5-15-031A
door stuck

## Pierce(ZC)
Floor | Room | Extn | Jack | CABLE BOX | FACE-PLATE | WIRE-MOLD | VIDEO JACK | DATA JACK | PHONE JACK | RED PHONE | NOTES | TECH NEEDED | TECH-REDPHONE | RM BX | RM FP | NFP | NFI | NDJ | NVJ | RI | DLG | DLNG | DTG | DTNG
1 | 105 | 16090 | 01001A |  |  |  |  | In |  |  |  | YES | YES | 1
1 | 106 | 16320 | 01002A
1 | 108 |  | 01003A
1 | 108 | 16358 | 01004A
1 | 109 |  | 01005A
1 | 109 | 16400 | 01006A
1 | 110 | 16423 | 01007A
1 | 111 | 16441 | 01008A
1 | 112 | 16091 | 01009A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
1 | 112 |  | 01010A
1 | 113 | 16398 | 01011A | [5 empty] | No Cxn |  |  | YES | YES | [10 empty] | 1
1 | 114 | 16347 | 01012A
1 | 114 |  | 01013A
1 | 115 | 16060 | 01014A
1 | 115 |  | 01015A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
1 | 116 | 16442 | 01016A
1 | 116 |  | 01017A
1 | 117 | 16474 | 01018A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
1 | 125 | 16298 | 01251A | [7 empty] | Office
1 | 125 |  | 01252A
2 | 202 | 16381 | 02003A
2 | 225 |  | 02043A
2 | 201 |  | 02001A
2 | 201 | 16359 | 02002A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
2 | 203 |  | 02004A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
2 | 203 | 16236 | 02005A
2 | 204 |  | 02006A
2 | 204 | 16068 | 02007A |  |  |  |  | In |  |  |  | YES | YES | [6 empty] | 1
2 | 205 |  | 02008A
2 | 205 | 16237 | 02009A
2 | 206 |  | 02010A
2 | 206 |  | 02011A
2 | 206 | 16037 | 02012A
2 | 207 |  | 02013A
2 | 207 | 16443 | 02014A
2 | 208 |  | 02015A
2 | 208 | 16239 | 02016A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
2 | 209 |  | 02017A
2 | 209 | 16032 | 02018A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
2 | 210 | 16360 | 02019A
2 | 211 |  | 02020A
2 | 211 | 16061 | 02021A
2 | 212 | 16425 | 02022A
2 | 212 |  | 02023A
2 | 213 | 16112 | 02024A
2 | 214 | 16476 | 02025A
2 | 214 |  | 02026A |  |  |  | In | In |  |  |  | YES | YES | [6 empty] | 2
2 | 215 | 16033 | 02027A
2 | 215 | 16033 | 02028A
2 | 216 | 16062 | 02029A
2 | 216 |  | 02030A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
2 | 217 | 16444 | 02031A
2 | 218 | 16113 | 02032A
2 | 219 | 16477 | 02033A
2 | 220 | 16323 | 02034A
2 | 221 | 16034 | 02035A
2 | 222 | 16361 | 02036A
2 | 222 |  | 02037A
2 | 223 | 16063 | 02038A
2 | 223 |  | 02039A |  |  |  | In |  |  |  |  | YES | YES |  |  |  | 1
2 | 224 | 16445 | 02040A
2 | 224 |  | 02041A
2 | 225 | 16324 | 02043A
2 | 226 |  | 02044A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
2 | 232 | 16089 | UNLBLED | [7 empty] | Can't found it
2 | 233 | 16038 | UNLBLED | [7 empty] | Can't found it
3 | 301 |  | 03001A
3 | 301 | 16426 | 03002A
3 | 302 | 16446 | 03003A
3 | 303 |  | 03004A
3 | 303 | 16478 | 03005A
3 | 304 |  | 03006A |  |  |  |  | In |  |  |  | YES | YES | 1
3 | 304 | 16035 | 03007A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
3 | 305 |  | 03008A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
3 | 305 | 16039 | 03009A
3 | 306 |  | 03010A
3 | 306 | 16427 | 03011A | [6 empty] | Replaced |  |  | YES
3 | 307 | 16299 | 03012A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
3 | 307 |  | 03013A
3 | 308 |  | 03014A | Loose | [7 empty] | YES | YES | 1
3 | 308 | 16325 | 03015A |  |  |  |  | In |  |  |  | YES | YES | [6 empty] | 1
3 | 309 | 16040 | 03016A
3 | 309 |  | 03017A
3 | 310 | 16064 | 03018A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
3 | 311 | 16066 | 03019A
3 | 312 | 16447 | 03020A
3 | 312 |  | 03021A
3 | 313 | 16479 | 03022A
3 | 314 | 16326 | 03023A
3 | 314 |  | 03024A
3 | 315 | 16362 | 03025A
3 | 315 |  | 03026A
3 | 316 | 16065 | 03027A | [5 empty] | No Cxn |  |  | YES | YES | [9 empty] | 1
3 | 316 |  | 03028A
3 | 317 | 16448 | 03029A
3 | 317 |  | 03030A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
3 | 319 | 16480 | 03031A
3 | 320 | 16327 | 03032A |  |  |  | In |  |  |  |  | YES | YES |  |  | 1
3 | 321 | 16036 | 03033A
3 | 322 | 16059 | 03034A
3 | 322 |  | 03035A
3 | 323 | 16067 | 03036A
3 | 323 |  | 03037A
3 | 324 | 16114 | 03038A
3 | 324 |  | 03039A
3 | 325 | 16328 | 03040A |  |  |  | In |  | No Cxn |  |  | YES | YES | [6 empty] | 1 |  |  |  | 1
3 | 325 |  | 03041A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
3 | 326 | 16363 | 03042A
|  |  |  | 1 | 0 | 0 | 19 | 5 | 3 | 1 | 3 | 26 | 27 | 3 | 0 | 1 | 1 | 0 | 0 | 20 | 0 | 0 | 1 | 2
|  |  | No Cxn |  |  |  | 0 | 0 | 3
|  |  | Stuck |  |  |  | 0 | 0 | 0
|  |  | In | 0 |  |  | 19 | 5 | 0
|  |  | Out | 0 |  |  | 0 | 0 | 0
|  |  | Replaced | [5 empty] | 0
|  |  | Loose | 1 | 0 | 0
|  |  | Missing |  | 0 | 0 |  |  |  | 0
|  |  | Broken |  | 0 |  |  |  |  | 0
RD
1 | 123 | 27699 | 01019A
1 | 124 | 16297
jack not found
Jack not found
jack not found
relabled
relabled
relabled
relabled
relabled
relabled
relabled
relabled
relabled
relabled
relabled
relabled
relabled
B5-15-031A
door stuck
Note on C22: Sharon: Added a new extention number (2017)
Note on C31: Sharon: Changing the Extention number from 16322 to 16237 (2017)
Note on C36: Sharon: Changed the extention number from 16443 to 16238
Note on B57: Sharon: The room number should be 221 than 210 (2017)
Note on B100: Sharon: Added a new room abd extention and Jack
Note on D107: Sharon: The jack number should be 3040 rather than 3039

## Sayles(ZD)
Floor | Room | Extn | Jack | CABLE BOX | FACE-PLATE | WIRE-MOLD | VIDEO JACK | DATA JACK | PHONE JACK | RED PHONE | NOTES | TECH NEEDED | TECH-REDPHONE | RM BX | RM FP | NFP | NFI | NDJ | NVJ | RI | DLG | DLNG | DTG | DTNG
1 | 101 |  | 01001A
1 | 101 | 16406 | 01002A
1 | 102 |  | 01003A |  |  |  | In |  |  |  |  | YES | YES |  |  | 1
1 | 102 | 16449 | 01004A
1 | 103 |  | 01005A
1 | 103 | 16481 | 01006A
1 | 104 |  | 01007A
1 | 104 | 16199 | 01008A
1 | 105 | 16183 | 01009A | [7 empty] | Occuiped
1 | 105 | 27892 | 01010A | [7 empty] | Occuiped
1 | 108 |  | 01015A
1 | 108 | 16385 | 01045A
1 | 109 |  | 01016A
1 | 109 | 16201 | 01017A
1 | 110 | 16384 | 01018A
1 | 110 |  | 01019A
1 | 111 |  | 01020A |  |  |  | In |  |  |  |  | YES | YES |  |  | 1
1 | 111 | 16204 | 01021A |  |  |  | In |  |  |  |  | YES | YES |  |  | 1
1 | 112 |  | 01022A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
1 | 112 | 16242 | 01023A
1 | 113 |  | 01024A
1 | 113 | 16279 | 01025A |  |  |  |  | Out | Out | Replaced |  | YES | YES | [6 empty] | 1
1 | 114 |  | 01026A
1 | 114 | 16214 | 01027A
1 | 115 | 16407 | 01028A | [6 empty] | Replaced |  |  | YES
1 | 115 |  | 01029A
1 | 116 |  | 01030A
1 | 116 | 16251 | 01031A
1 | 117 |  | 01032A
1 | 117 | 16329 | 01033A
1 | 120 | 16156 | 01034A
1 | 120 |  | 01035A
1 | 121 |  | 01036A
1 | 121 | 16408 | 01037A
1 | 122 |  | 01038A
1 | 122 | 16450 | 01039A | Loose |  |  | In |  |  |  |  | YES | YES | 1 | [5 empty] | 1
1 | 123 |  | 01040A
1 | 123 | 16482 | 01041A
1 | 124 |  | 01042A
1 | 124 | 16278 | 01043A |  |  |  | No Cxn |  |  |  |  | YES | YES
2 | 201 |  | 02001A
2 | 201 | 16409 | 02002A
2 | 202 |  | 02003A
2 | 202 | 16240 | 02004A |  |  |  | Out |  |  |  |  | YES | YES | [6 empty] | 1
2 | 203 |  | 02005A
2 | 203 | 16330 | 02006A
2 | 204 |  | 02007A
2 | 204 | 16364 | 02008A
2 | 205 |  | 02009A
2 | 205 | 16410 | 02010A | Loose |  |  | In |  |  |  |  | YES | YES | 1 | [5 empty] | 1
2 | 206 |  | 02011A |  |  |  | Out |  |  |  |  | YES | YES | [6 empty] | 1
2 | 206 | 16296 | 02012A
2 | 207 | 16331 | 02013A
2 | 207 |  | 02014A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
2 | 208 |  | 02015A
2 | 208 | 16276 | 02016A
2 | 209 |  | 02017A
2 | 209 | 16228 | 02018A
2 | 210 |  | 02019A
2 | 210 | 16483 | 02020A
2 | 211 |  | 02021A
2 | 211 | 16401 | 02022A
2 | 212 |  | 02023A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
2 | 212 | 16277 | 02024A
2 | 213 |  | 02025A
2 | 213 | 16155 | 02026A
2 | 214 |  | 02027A
2 | 214 | 16484 | 02028A
2 | 215 |  | 02029A | Out | [7 empty] | YES | YES | 1
2 | 215 | 16402 | 02030A
2 | 216 |  | 02031A
2 | 216 | 16411 | 02032A
2 | 217 |  | 02033A
2 | 217 | 16403 | 02034A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
2 | 218 |  | 02035A
2 | 218 | 16332 | 02036A
2 | 219 |  | 02037A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
2 | 219 | 16365 | 02038A
2 | 220 |  | 02039A
2 | 220 | 16412 | 02040A
2 | 221 |  | 02041A
2 | 221 | 16404 | 02042A
2 | 222 |  | 02043A
2 | 222 | 16333 | 02044A
2 | 223 |  | 02045A
2 | 223 | 16149 | 02046A | [6 empty] | Replaced |  |  | YES
2 | 224 |  | 02047A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
2 | 224 | 16294 | 02048A | [6 empty] | Replaced |  |  | YES
2 | 227 |  | 02049A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
2 | 227 | 16386 | 02050A | [6 empty] | Replaced |  |  | YES
2 | 227 |  | 02051A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
3 | 301 |  | 03001A
3 | 301 | 16485 | 03002A
3 | 302 |  | 03003A |  |  |  | In |  |  |  |  | YES | YES |  |  | 1
3 | 302 | 16348 | 03004A
3 | 303 |  | 03005A |  |  |  | In | In |  |  |  | YES | YES | [6 empty] | 1
3 | 303 | 16388 | 03006A
3 | 304 |  | 03007A
3 | 304 | 16241 | 03008A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
3 | 305 |  | 03009A
3 | 305 | 16486 | 03010A | [6 empty] | Replaced |  |  | YES
3 | 306 |  | 03048A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
3 | 306 | 16295 | 03049A | [6 empty] | Replaced |  |  | YES
3 | 307 | 16334 | 03012A
3 | 307 |  | 03013A
3 | 308 |  | 03014A
3 | 308 | 16243 | 03015A
3 | 309 |  | 03016A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
3 | 309 | 16202 | 03017A
3 | 310 |  | 03018A
3 | 310 | 16335 | 03019A
3 | 311 |  | 03020A | Out | Broken |  | Out |  |  |  | Box is off the wall and destroyed | YES | YES | 1 | [5 empty] | 1
3 | 311 | 16366 | 03021A
3 | 312 |  | 03022A
3 | 312 | 16414 | 03023A | Out | [7 empty] | YES | YES | 1
3 | 313 |  | 03024A
3 | 313 | 16405 | 03025A
3 | 314 | 16487 | 03026A |  |  |  |  | In |  |  |  | YES | YES | [6 empty] | 1
3 | 314 |  | 03027A
3 | 315 |  | 03028A
3 | 315 | 16389 | 03029A
3 | 316 |  | 03030A
3 | 316 | 16413 | 03031A | [5 empty] | No Cxn |  |  | YES | YES | [10 empty] | 1
3 | 317 |  | 03032A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
3 | 317 | 16488 | 03033A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
3 | 318 |  | 03034A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
3 | 318 | 16349 | 03035A
3 | 319 |  | 03036A
3 | 319 | 16390 | 03037A
3 | 320 |  | 03038A
3 | 320 | 16198 | 03039A
3 | 321 |  | 03040A
3 | 321 | 16489 | 03041A
3 | 322 | 16293 | 03042A | [6 empty] | Replaced |  |  | YES
3 | 322 |  | 03043A
3 | 323 |  | 03044A |  |  |  |  | In |  |  |  | YES | YES | [6 empty] | 1
3 | 323 | 16391 | 03045A |  |  |  | In | In | In | Replaced |  | YES | YES | [6 empty] | 1
3 | 324 |  | 03046A
3 | 324 | 16428 | 03047A | [6 empty] | Replaced |  |  | YES
139 |  |  |  | 5 | 1 | 0 | 26 | 5 | 3 | 10 |  | 32 | 40 | 5 | 0 | 4 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 1
|  |  | No Cxn |  |  |  | 1 | 0 | 1
|  |  | Stuck |  |  |  | 0 | 0 | 0
|  |  | In | 0 |  |  | 22 | 4 | 1
|  |  | Out | 3 |  |  | 3 | 1 | 1
|  |  | Replaced | [6 empty] | 10
|  |  | Loose | 2 | 0 | 0
|  |  | Missing |  | 0 | 0 |  |  |  | 0
|  |  | Broken |  | 1 |  |  |  |  | 0
1 | 107 |  | UNLBLED
1 | 107 | 27222 | 01013A
1 | 107A | 16382 | 01044A
Note on C55: Eric Carpenter June 14 17 IRL extension is at 02013A. Not 02014A
Note on C135: Eric Carpenter June 14 17 IRL the phone is attached to 03042A not 03043A

## Waterbury(ZE)
Floor | Room | Extn | Jack | CABLE BOX | FACE-PLATE | WIRE-MOLD | VIDEO JACK | DATA JACK | PHONE JACK | RED PHONE | NOTES | TECH NEEDED | TECH-REDPHONE | RM BX | RM FP | NFP | NFI | NDJ | NVJ | RI | DLG | DLNG | DTG | DTNG
0 | LOUNGE |  | 00023A
0 | LOUNGE |  | 01053A
0 | 8 | 16263 | 00006A | [7 empty] | not found
0 | 9 | 16302 | 00014A | [7 empty] | not found
0 | 23 | 16230 | 00003A | [7 empty] | locked
0 | 25 | 16300 | 00001A |  |  |  | In | No Cxn |  |  |  | YES | YES | [6 empty] | 1 |  | 1
0 | 25 |  | 00002A |  |  |  |  | No Cxn |  |  |  | YES | YES | [8 empty] | 1
0 | 29 |  | 00004A | [7 empty] | not found
0 | 8 | 16252 | 00005A
0 | 8 |  | 00006A |  |  |  |  | No Cxn |  |  |  | YES | YES | [8 empty] | 1
0 | 6 |  | 00007A |  |  |  | In | No Cxn |  |  |  | YES | YES | [6 empty] | 1 |  | 1
0 | 6 | 16301 | 00008A |  |  |  |  | No Cxn |  |  |  | YES | YES | [8 empty] | 1
0 | 5 | 16092 | 00009A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
0 | 5 |  | 00010A |  |  |  |  | No Cxn |  |  |  | YES | YES | [8 empty] | 1
0 | 7 | 16253 | 00011A
0 | 7 |  | 00012A |  |  |  |  | In |  |  |  | YES | YES | [6 empty] | 1
0 | 9 | 16280 | 00013A
0 | 9 |  | 00014A |  |  |  |  | No Cxn |  |  |  | YES | YES |  |  |  |  | 1 |  |  |  | 1
0 | 11 | 16229 | 00015A
0 | 11 |  | 00016A
0 | 13 | 16475 | 00017A |  |  |  |  | No Cxn |  |  |  | YES | YES | [8 empty] | 1
0 | 13 |  | 00018A
0 | 15 | 16264 | 00019A |  |  |  |  | No Cxn |  |  |  | YES | YES | [8 empty] | 1
0 | 15 |  | 00020A |  |  |  |  | Out |  |  |  | YES | YES |  |  | 1 | 1 | 1 | 1 |  | 1
0 | 17 | 16303 | 00021A |  |  |  | In | No Cxn | In |  |  | YES | YES | [6 empty] | 1 | 1
0 | 17 |  | 00022A |  |  |  | In |  |  |  |  | YES | YES |  |  | 1 | 1 | 1 | 1 |  |  | 1
1 | 101 |  | 01001A
1 | 101 | 16231 | 01002A
1 | 102 |  | 01003A |  |  |  | In | No Cxn |  |  |  | YES | YES |  |  | 1 |  |  |  | 1 | 1
1 | 102 | 16281 | 01004A
1 | 103 | 16304 | 01005A |  |  |  | In | In |  | Replaced |  | YES | YES | [6 empty] | 1
1 | 103 |  | 01006A
1 | 104 |  | 01007A
1 | 104 | 16244 | 01008A
1 | 105 | 16254 | 01009A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
1 | 105 |  | 01010A
1 | 106 |  | 01011A
1 | 106 | 16305 | 01012A
1 | 107 | 16215 | 01013A
1 | 107 |  | 01014A |  |  |  |  | No Cxn |  |  |  | YES | YES | [7 empty] | 1
1 | 108 |  | 01015A |  |  |  | Out | In |  |  |  | YES | YES | [6 empty] | 1
1 | 108 | 16265 | 01016A | Out | [7 empty] | YES | YES | [11 empty] | Wall needs to be repaired
1 | 109 | 16282 | 01017A |  |  |  |  | No Cxn |  |  |  | YES | YES |  |  | 1 | 1 | 1 | 1 |  | 1 |  | 1
1 | 109 |  | 01018A
1 | 111 | 16216 | 01019A | Loose | [7 empty] | YES | YES | 1 | [7 empty] | 1
1 | 111 |  | 01020A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
1 | 113 | 16245 | 01021A
1 | 113 |  | 01022A |  |  |  | Out | In |  |  |  | YES | YES | [6 empty] | 1
1 | 115 | 16266 | 01023A
1 | 115 |  | 01024A
1 | 116 |  | 01025A |  |  |  | Out | Out |  |  |  | YES | YES | [6 empty] | 1
1 | 116 | 16217 | 01026A |  | Loose |  | In |  |  |  |  | YES | YES |  |  | 1 | 1 | 1 | 1 |  | 1 |  | 1
1 | 117 | 16232 | 01027A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
1 | 117 |  | 01028A
1 | 118 |  | 01029A
1 | 118 | 16283 | 01030A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
1 | 119 | 16306 | 01031A
1 | 119 |  | 01032A |  |  |  | In | In |  |  |  | YES | YES | [6 empty] | 1
1 | 120 |  | 01033A
1 | 120 | 16246 | 01034A |  |  |  | Out |  |  |  |  | YES | YES |  |  | 1 | 1
1 | 121 | 16255 | 01035A |  |  |  |  | No Cxn |  |  |  | YES | YES | [8 empty] | 1
1 | 121 |  | 01036A |  |  |  |  | No Cxn |  |  |  | YES | YES | [8 empty] | 1
1 | 122 |  | 01037A
1 | 122 | 16307 | 01038A
1 | 123 | 16218 | 01039A |  |  |  | In |  |  |  |  | YES | YES |  |  | 1 | 1 | 1 | 1 |  | 1 |  | 1
1 | 123 |  | 01040A
1 | 124 |  | 01041A |  |  |  | Out | In |  |  |  | YES | YES |  |  | 1 | 1 | 1 | 1 |  | 1
1 | 124 | 16267 | 01042A |  |  |  | In | In |  |  |  | YES | YES | [9 empty] | 1
1 | 125 |  | 01043A
1 | 125 | 16308 | 01044A |  |  |  | In |  |  |  |  | YES | YES | [9 empty] | 1
1 | 126 | 16219 | 01045A
1 | 126 |  | 01046A
1 | 127 | 16249 | 01047A
1 | 127 |  | 01048A
1 | 128 |  | 01049A |  |  |  | In | No Cxn |  |  |  | YES | YES |  |  | 1 | [5 empty] | 1
1 | 128 | 16284 | 01050A |  |  |  | In |  |  | Replaced |  | YES | YES | [6 empty] | 1
1 | 130 |  | 01051A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
1 | 130 | 16220 | 01052A | [7 empty] | RHD - Locked
1 | 135 |  | 00101A | [7 empty] | couldn’t find
1 | 135 | 25871 | UNLBLED | [7 empty] | couldn’t find
1 | 137 | 25892 | 01001B | [7 empty] | couldn’t find
1 | 137 | 25945 | BLEP | [7 empty] | couldn’t find
1 | 138 | 16233 | 01054A | [7 empty] | couldn’t find
1 | 138 | 25863 | 01054D | [7 empty] | couldn’t find
1 | 141 | 16256 | 01055A |  |  |  |  | No Cxn |  |  |  | YES | YES | [8 empty] | 1
1 | 141 |  | 01056A
1 | 142 |  | 01057A |  |  |  |  | No Cxn |  |  |  | YES | YES |  |  | 1 | 1 | 1 | 1 |  |  | 1
1 | 142 | 16309 | 01058A |  |  |  |  | No Cxn |  |  |  | YES | YES | [8 empty] | 1
1 | 143 | 16221 | 01059A |  |  |  | Out | No Cxn |  |  |  | YES | YES | [6 empty] | 1 |  | 1
1 | 143 |  | 01060A |  |  |  |  | No Cxn |  |  |  | YES | YES | [8 empty] | 1
1 | 144 |  | 01061A
1 | 144 | 16257 | 01062A |  |  |  |  | No Cxn |  |  |  | YES | YES | [8 empty] | 1
1 | 145 | 16268 | 01063A |  |  |  | In | No Cxn |  |  |  | YES | YES | [6 empty] | 1 |  | 1
1 | 145 |  | 01064A |  |  |  |  | No Cxn |  |  |  | YES | YES | [8 empty] | 1
1 | 146 |  | 01065A |  |  |  |  | No Cxn |  |  |  | YES | YES | [8 empty] | 1
1 | 146 | 16222 | 01066A |  |  |  |  | No Cxn |  |  |  | YES | YES | [8 empty] | 1
1 | 147 | 16234 | 01067A
1 | 147 |  | 01068A | Loose |  |  |  | No Cxn |  |  |  | YES | YES | [8 empty] | 1
1 | 148 |  | 01069A |  |  |  |  | No Cxn |  |  |  | YES | YES | [8 empty] | 1
1 | 148 | 16285 | 01070A |  |  |  | In | No Cxn |  |  |  | YES | YES |  |  | 1 | 1 | 1 | 1 |  |  | 1 | 1
1 | 149 | 16310 | 01071A
1 | 149 |  | 01072A |  |  |  |  | No Cxn |  |  |  | YES | YES | [8 empty] | 1
1 | 150 |  | 01073A |  |  |  |  | In |  |  |  | YES | YES | [6 empty] | 1 |  | 1
1 | 150 | 16249 | 01074A |  |  |  |  | No Cxn | No Cxn |  |  | YES | YES | [8 empty] | 1 |  | 1
1 | 151 |  | 01076A |  |  |  |  | No Cxn |  |  |  | YES | YES | [8 empty] | 1
1 | 151 | 16258 | 01081A |  |  |  |  | No Cxn |  |  |  | YES | YES | [8 empty] | 1
1 | 152 |  | 01077A
1 | 152 | 16311 | 01078A
1 | 153 | 16223 | 01079A
1 | 153 |  | 01080A
1 | 154 |  | 01081A |  |  |  | In |  |  |  |  | YES | YES | [9 empty] | 1
1 | 154 | 16269 | 01082A
1 | 155 | 16286 | 01083A |  |  |  | In |  |  |  |  | YES | YES | [9 empty] | 1
1 | 155 |  | 01084A
1 | 156 |  | 01085A
1 | 156 | 16235 | 01086A |  |  |  | In |  |  |  | something stuck in cable | YES | YES | [9 empty] | 1
1 | 160 |  | 01087A
1 | 160 | 16259 | 01088A
1 | 162 |  | 01089A
1 | 162 | 16287 | 01090A |  |  |  |  | In |  |  |  | YES | YES | [9 empty] | 1
1 | 163 | 16312 | 01091A |  |  |  | In |  |  |  |  | YES | YES |  |  | 1
1 | 163 |  | 01092A
1 | 164 |  | 01093A
1 | 164 | 16260 | 01094A |  |  |  | Out |  |  |  |  | YES | YES |  |  | 1
1 | 165 | 16270 | 01095A |  |  |  |  | In |  |  |  | YES | YES | [6 empty] | 1
1 | 165 |  | 01096A
1 | 166 |  | 01097A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
1 | 166 | 16224 | 01098A
1 | 167 | 16236 | 01099A | [5 empty] | No Cxn |  |  | YES | YES | [10 empty] | 1
1 | 167 |  | 01100A
1 | 168 |  | 01101A |  |  |  |  | In |  |  |  | YES | YES | [6 empty] | 1
1 | 168 | 16271 | 01102A
1 | 169 | 16288 | 01103A |  |  |  |  | In | In |  |  | YES | YES | [6 empty] | 2
1 | 169 |  | 01104A
2 | 201 | 16225 | 02001A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
2 | 201 |  | 02002A | Loose |  |  | In | No Cxn |  |  |  | YES | YES | 1 |  | 1 | [5 empty] | 1
2 | 202 |  | 02003A |  |  |  |  | No Cxn |  |  |  | YES | YES | [8 empty] | 1
2 | 202 | 16272 | 02004A |  | Broken | [5 empty] | couldn’t test data and cable b/c of FP | YES | YES |  | 1
2 | 203 | 16289 | 02005A |  |  |  | In | No Cxn |  |  |  | YES | YES | [6 empty] | 1 |  | 1
2 | 203 |  | 02006A
2 | 204 |  | 02007A |  |  |  | In | No Cxn |  |  |  | YES | YES | [6 empty] | 1 |  | 1
2 | 204 | 16424 | 02008A |  |  |  |  | No Cxn |  |  |  | YES | YES | [8 empty] | 1
2 | 205 | 16250 | 02009A |  |  |  |  | No Cxn |  |  |  | YES | YES | [8 empty] | 1
2 | 205 |  | 02010A
2 | 206 |  | 02011A |  |  |  |  | No Cxn |  |  |  | YES | YES | [8 empty] | 1
2 | 206 | 16290 | 02012A |  |  |  |  | No Cxn |  | Replaced |  | YES | YES | [8 empty] | 1
2 | 207 | 16313 | 02013A |  |  |  |  | No Cxn |  |  |  | YES | YES | [8 empty] | 1
2 | 207 |  | 02014A |  |  |  |  | No Cxn |  |  |  | YES | YES
2 | 208 |  | 02015A |  |  |  |  | In |  |  |  | YES | YES | [6 empty] | 1 |  | 1
2 | 208 | 16261 | 02016A
2 | 215 | 16273 | 02017A |  |  |  |  | No Cxn |  |  |  | YES | YES | [8 empty] | 1
2 | 215 |  | 02018A
2 | 216 |  | 02019A |  |  |  |  | No Cxn |  |  |  | YES | YES
2 | 216 | 16227 | 02020A
2 | 217 | 16322 | 02021A
2 | 217 |  | 02022A
2 | 218 |  | 02023A
2 | 218 | 16274 | 02024A
2 | 219 | 16291 | 02025A |  |  |  | In |  |  | Replaced |  | YES | YES | [6 empty] | 1
2 | 219 |  | 02026A
2 | 220 |  | 02027A |  |  |  |  | In |  |  |  | YES | YES | [6 empty] | 1
2 | 220 | 16248 | 02028A |  |  |  | In |  |  | Replaced |  | YES | YES | [6 empty] | 1
2 | 221 | 16262 | 02029A
2 | 221 |  | 02030A
2 | 222 |  | 02031A
2 | 222 | 16314 | 02032A
2 | 223 | 16443 | 02033A
2 | 223 |  | 02034A
2 | 224 |  | 02035A
2 | 224 | 16275 | 02036A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
2 | 225 | 16292 | 02037A
2 | 225 |  | 02038A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
2 | 226 |  | 02039A |  |  |  | Out |  |  |  |  | YES | YES | [6 empty] | 1
2 | 226 | 16367 | 02040A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
2 | 227 | 16392 | 02041A
2 | 227 |  | 02042A
2 | 228 |  | 02043A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
2 | 228 | 16415 | 02044A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
2 | 230 |  | 02045A |  |  |  | In |  |  |  |  | YES | YES |  |  |  | 1
2 | 230 | 16451 | 02046A | Loose | [7 empty] | YES | YES | 1
2 | 232 |  | 02048A
2 | 232 | 16336 | 02049A
2 | LOUNGE | 16030 | 02050A
2 | 240 |  | 02051A |  |  |  | In |  |  |  |  | YES | YES |  |  | 1
2 | 240 | 16368 | 02052A
2 | 241 | 16393 | 02053A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
2 | 241 |  | 02054A
2 | 242 |  | 02055A
2 | 242 | 16452 | 02056A
2 | 243 | 16464 | 02057A |  |  |  | In | In |  |  |  | YES | YES | [6 empty] | 1
2 | 243 |  | 02058A
2 | 244 |  | 02059A
2 | 244 | 16369 | 02060A
2 | 245 | 16394 | 02061A |  |  |  |  | No Cxn |  |  |  | YES | YES | [7 empty] | 1
2 | 245 |  | 02062A
2 | 246 |  | 02063A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
2 | 246 | 16453 | 02064A
2 | 247 | 16465 | 02065A |  |  |  | In |  |  |  |  | YES | YES |  |  | 1
2 | 247 |  | 02066A |  |  |  | In |  | In |  |  | YES | YES | [6 empty] | 1
2 | 248 |  | 02067A
2 | 248 | 16351 | 02068A
2 | 249 | 16370 | 02069A |  |  |  | In | No Cxn | In |  |  | YES | YES | [6 empty] | 1 | 1
2 | 249 |  | 02070A
2 | 250 |  | 02071A |  |  |  |  | No Cxn |  |  |  | YES | YES | [7 empty] | 1
2 | 250 | 16429 | 02072A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
2 | 251 | 16454 | 02073A
2 | 251 |  | 02074A
2 | 252 |  | 02075A
2 | 252 | 16337 | 02076A
2 | 253 | 16371 | 02077A |  |  |  | In | In |  |  |  | YES | YES |  |  | 1
2 | 253 |  | 02078A |  |  |  |  | In |  |  |  | YES | YES | [6 empty] | 1
2 | 254 |  | 02079A |  |  |  |  | No Cxn |  |  |  | YES | YES | [7 empty] | 1
2 | 254 | 16430 | 02080A
2 | 255 | 16455 | 02081A
2 | 255 |  | 02082A
2 | 257 | 16350 | 02103A
2 | 258 |  | 02083A |  |  |  | In | No Cxn |  |  |  | YES | YES |  |  | 1 | [5 empty] | 1
2 | 258 | 16338 | 02084A
2 | 260 |  | 02085A
2 | 260 | 16372 | 02086A
2 | 262 |  | 02087A | Loose | [7 empty] | YES | YES | 1
2 | 262 | 16416 | 02088A | Loose | [7 empty] | YES | YES | 1
2 | 263 | 16431 | 02089A | Loose | [7 empty] | YES | YES | 1
2 | 263 |  | 02090A
2 | 264 |  | 02091A
2 | 264 | 16315 | 02092A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
2 | 265 | 16339 | 02093A
2 | 265 |  | 02094A |  |  |  | In | In |  |  |  | YES | YES | [6 empty] | 1
2 | 266 |  | 02095A
2 | 266 | 16417 | 02096A |  |  |  | In | In |  |  |  | YES | YES | [6 empty] | 1
2 | 267 | 16432 | 02097A
2 | 267 |  | 02098A
2 | 268 |  | 02101A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
2 | 268 | 16352 | 02102A
2 | 269 | 16466 | 02099A
2 | 269 |  | 02100A
3 | 301 | 16373 | 03001A
3 | 301 |  | 03002A
3 | 302 |  | 03003A
3 | 302 | 16433 | 03004A
3 | 303 | 16456 | 03005A
3 | 303 |  | 03006A
3 | 304 |  | 03007A
3 | 304 | 16340 | 03008A
3 | 305 | 16374 | 03009A
3 | 305 |  | 03010A |  |  | Missing | [5 empty] | YES | YES | [11 empty] | Wiremold good
3 | 306 |  | 03011A
3 | 306 | 16434 | 03012A
3 | 307 | 16457 | 03013A |  |  |  | No Cxn |  |  |  |  | YES | YES
3 | 307 |  | 03014A
3 | 308 |  | 03015A
3 | 308 | 16341 | 03016A
3 | 309 | 16353 | 03017A
3 | 309 |  | 03018A
3 | LOUNGE |  | 03019A
3 | 315 | 16395 | 03020A
3 | 315 |  | 03021A
3 | 316 |  | 03022A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
3 | 316 | 16458 | 03023A | Loose |  |  | In |  |  |  |  | YES | YES | 1 | [5 empty] | 1
3 | 317 | 16467 | 03024A
3 | 317 |  | 03025A
3 | 318 |  | 03026A
3 | 318 | 16375 | 03027A
3 | 319 | 16396 | 03028A
3 | 319 |  | 03029A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
3 | 320 |  | 03030A
3 | 320 | 16459 | 03031A
3 | 321 | 16468 | 03032A
3 | 321 |  | 03033A
3 | 322 |  | 03034A
3 | 322 | 16354 | 03035A
3 | 323 | 16376 | 03036A
3 | 323 |  | 03037A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
3 | 324 | 16435 | 03039A |  |  |  | In | In | In |  |  | YES | YES |  |  | 1 | 1
3 | 324 |  | 03038A |  |  |  |  | Stuck |  |  |  | YES | YES
3 | 325 | 16460 | 03040A
3 | 325 |  | 03041A
3 | 326 |  | 03042A
3 | 326 | 16342 | 03043A |  |  |  | In |  |  |  |  | YES | YES |  |  | 1
3 | 327 | 16377 | 03044A |  |  |  | Out |  |  |  |  | YES | YES |  |  | 1
3 | 327 |  | 03045A
3 | 328 |  | 03046A
3 | 328 | 16436 | 03047A
3 | 330 |  | 03048A
3 | 330 | 16469 | 03049A
3 | 332 |  | 03050A |  |  |  | No Cxn |  |  |  |  | YES | YES
3 | 332 | 16343 | 03051A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
3 | 333 | 16355 | 03052A
3 | 333 |  | 03053A |  |  |  |  | In | In |  |  | YES | YES |  |  | 1 | 1
3 | 334 |  | 03054A
3 | 334 | 16418 | 03055A | Loose | [7 empty] | YES | YES | 1
3 | 335 | 16437 | 03056A
3 | 335 |  | 03057A
3 | 337 | 16470 | 03058A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
3 | 337 |  | 03059A
3 | 338 |  | 03060A |  |  |  | In |  |  |  |  | YES | YES |  |  | 1 | 1
3 | 338 | 16378 | 03061A | Loose | [7 empty] | YES | YES | 1
3 | 339 | 16397 | 03062A
3 | 339 |  | 03063A |  |  |  | In |  |  |  |  | YES | YES |  |  | 1
3 | 340 |  | 03064A
3 | 340 | 16461 | 03065A
3 | 341 | 16471 | 03066A
3 | 341 |  | 03067A
3 | 342 |  | 03068A | Loose |  |  | In |  |  |  |  | YES | YES | 1 | [5 empty] | 1
3 | 342 | 16356 | 03069A
3 | 343 | 16379 | 03070A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
3 | 343 |  | 03071A
3 | 344 |  | 03072A |  |  | Missing | [5 empty] | YES | YES | [11 empty] | wiremold good
3 | 344 | 16438 | 03073A
3 | 345 |  | 03074A
3 | 345 | 16472 | 03075A
3 | 346 | 16316 | 03076A |  |  |  | In |  |  |  |  | YES | YES
3 | 346 |  | 03077A |  |  |  | No Cxn |  |  |  |  | YES | YES | [6 empty] | 1
3 | 347 | 16380 | 03078A
3 | 347 |  | 03079A
3 | 348 |  | 03080A
3 | 348 | 16439 | 03081A | Loose | [7 empty] | YES | YES | 1
3 | 349 | 16462 | 03082A |  |  |  | In |  |  |  |  | YES | YES |  |  | 1
3 | 349 |  | 03083A |  |  |  | In |  |  |  |  | YES | YES |  |  |  | 1
3 | 350 |  | 03084A |  |  |  | In |  |  |  |  | YES | YES |  |  |  | 1
3 | 350 | 16344 | 03085A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
3 | 351 | 16357 | 03086A | Loose | [7 empty] | YES | YES | 1
3 | 351 |  | 03087A | Loose | [7 empty] | YES | YES | 1
3 | 352 |  | 03088A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
3 | 352 | 16419 | 03089A |  |  |  | In |  |  |  |  | YES | YES |  |  |  | 1
3 | 353 | 16440 | 03090A |  |  | Missing | [5 empty] | YES | YES | [11 empty] | Wiremold good
3 | 353 |  | 03091A |  |  |  | In |  |  |  |  | YES | YES |  |  | 1
3 | 354 |  | 03092A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
3 | 354 | 16317 | 03093A
3 | 355 | 16345 | 03094A
3 | 355 |  | 03095A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
3 | 356 |  | 03096A
3 | 356 | 16420 | 03097A
3 | 360 |  | 03098A
3 | 360 | 16463 | 03099A
3 | 362 |  | 03100A
3 | 362 | 16318 | 03101A
3 | 363 | 16346 | 03102A
3 | 363 |  | 03103A
3 | 364 |  | 03104A
3 | 364 | 16398 | 03105A | Loose | [7 empty] | YES | YES | 1
3 | 365 | 16421 | 03106A
3 | 365 |  | 03107A
3 | 366 |  | 03108A |  |  |  | In |  |  |  |  | YES | YES | [6 empty] | 1
3 | 366 | 16473 | 03109A
3 | 367 | 16319 | 03110A
3 | 367 |  | 03111A
3 | 368 |  | 03112A | Loose | [7 empty] | YES | YES | 1
3 | 368 | 16399 | 03113A |  |  | Missing | [5 empty] | YES | YES | [11 empty] | Wiremold good
3 | 369 | 16422 | 03114A
3 | 369 |  | 03115A | Loose | [7 empty] | YES | YES | 1
351 |  |  |  | 18 | 2 | 4 | 87 | 74 | 8 | 5 |  | 156 | 156 | 16 | 1 | 26 | 16 | 9 | 8 | 63 | 12 | 44 | 10 | 2
|  |  | No Cxn |  |  |  | 3 | 50 | 2
|  |  | In | 0 |  |  | 75 | 21 | 6
|  |  | Out | 1 |  |  | 9 | 2 | 0
Replaced
|  |  | Loose | 17 | 1 | 0
|  |  | Missing |  | 0 | 4 |  |  |  | 0
|  |  | Broken |  | 1 |  |  |  |  | 0